{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["新申请"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"新申请","index":0,"n_rows":16,"n_cols":6,"rows_kept":16,"merged":[[0,0,0,5],[4,0,5,0],[4,1,5,1],[4,2,5,2],[15,0,15,5]],"flags":["formulas_cached_only"]}
["河南省2017年第六批建设工程质量检测机构资质审查意见汇总表"]
["序号","地市","单位名称","资质类别","审核情况","备注"]
[1,"濮阳市","濮阳市龙祥技术检测有限公司","增项-见证取样","1.所有人员社会保险均非濮阳市龙祥技术检测有限公司；2.缺叶轮搅拌器设备；3.所有人员职称证均非人事部门所发"]
[2,"周口市","项城市恒兴建筑节能检测有限公司","新申请-建筑节能","1.缺氧指数测定仪及检定证书；2.只配备1台（0-500g，I级）天平，无法满足检测需要"]
[3,"南阳市","新野县中兴建设工程质量检测有限公司","新申请-见证取样","1.缺沥青混合料检测；2.缺工作场所相关文件"]
[{"$nulls":3},"新申请-主体结构","1.缺房屋产权证明或租赁合同；2.缺注册结构师的职称证明"]
[4,"郑州市","河南交院工程技术有限公司","新申请-见证取样","缺变形测量仪，钢绞线试验机"]
[5,"开封市","尉氏县恒基工程质量检测有限公司","增项-见证取样","缺质量保证体系文件"]
[6,"周口","沈丘县华隆建设工程质量检测有限公司","增项-室内环境","符合"]
[7,"郑州"," 河南省国安建筑工程质量检测有限公司","增项-地基基础","1.缺内力测试仪器；2.缺高应变仪器(RS-1616KCS)配套的加速度和应变传感器检定证书"]
[8,"开封市","河南山河建设工程质量检测有限公司","新申请-见证取样","1.缺培训证人数10人；2.缺陈雪峰,龚彦社保材料"]
[9,"郑州市","中钢集团郑州金属制品研究院有限公司","增项-见证取样","1.王向阳社会保险非本单位保险；2.所有检定证书单位名称均非中钢集团郑州金属制品研究院有限公司（而是该机构下属二级机构国家金属制品质量监督检验中心）；3.缺沥青混合料检验；4.缺工作场所相关文件；5.江艳等六人职称证均非人事部门所发；6.质量体系文件中质量手册等不是所申报机构的,而是下属机构的"]
[10,"永城市","河南泰磊工程检测咨询有限公司","新申请-地基基础","1.缺兰春、王帅、朱行君基本医疗、工伤、生育保险；2.缺所有人员的养老明细单；3.缺设备及检定证书:高应变检测仪器、重锤、声波透射法检测仪器、基桩取芯设备、锚杆承载力检测仪器设备、水准仪、全站仪、内力测试仪器；4.检测业务内容(项目)缺:锚杆(土钉)承载力检测、基坑工程监测项目"]
[11,"郑州市","河南赛思检测技术有限公司","新申请-地基基础","符合"]
[12,"郑州市","河南鑫港工程检测有限公司","增项-主体结构","1.所有人员仅有基本养老缴费信息，缺医疗、工伤缴费信息；2.所有人员基本养老保险缴费仅至2017.4.5日，缺少最近的缴费信息；3.缺百分表或位移传感器校验/检定证书"]
["www.hngcjs.cn"]