{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["处罚情况"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"处罚情况","index":0,"n_rows":156,"n_cols":10,"rows_kept":156,"merged":[[0,0,0,9],[2,1,17,1],[2,2,17,2],[18,1,28,1],[18,2,28,2],[29,1,39,1],[29,2,39,2],[40,1,49,1],[40,2,49,2],[50,1,57,1],[50,2,57,2],[58,1,65,1],[58,2,65,2],[66,1,72,1],[66,2,72,2],[73,1,79,1],[73,2,79,2],[80,1,85,1],[80,2,85,2],[86,1,90,1],[86,2,90,2],[91,1,95,1],[91,2,95,2],[96,1,100,1],[96,2,100,2],[101,1,105,1],[101,2,105,2],[106,1,109,1],[106,2,109,2],[110,1,113,1],[110,2,113,2],[114,1,117,1],[114,2,117,2],[118,1,120,1],[118,2,120,2],[121,1,123,1],[121,2,123,2],[124,1,126,1],[124,2,126,2],[127,1,129,1],[127,2,129,2],[130,1,132,1],[130,2,132,2],[133,1,134,1],[133,2,134,2],[135,1,136,1],[135,2,136,2],[137,1,138,1],[137,2,138,2],[139,1,140,1],[139,2,140,2],[141,1,142,1],[141,2,142,2],[143,1,144,1],[143,2,144,2],[145,1,146,1],[145,2,146,2],[155,0,155,9]],"flags":["formulas_cached_only"]}
["河南省2017年度消防技术服务机构处罚信息（公示）"]
["案件计数","被处罚单位","企业\n资质","技术服务使用单位","处罚决定单位","行政处罚决定书文号","处罚条款","案由","处罚时间","罚款金额\n（元）"]
[1,"河南通泰消防设施检测有限公司","临时二级","河南舒悦健身服务有限公司","郑州支队","郑中公(消)行罚决字〔2017〕0339号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.12.21",1000]
[2,null,null,"龙亭区七天酒店宋都御街店","开封支队","龙公(消)行罚决字〔2017〕0045号 ","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章","2017.06.19",1000]
[3,null,null,"兰考天地饲料有限公司","开封支队","兰公(消)行罚决字〔2017〕0061号","《规定》第四十八条第三项","承接业务未依法与委托人签订消防技术服务合同","2017.09.08",1000]
[4,null,null,"尉氏县朱曲镇和润万家生活超市","开封支队","尉公(消)行罚决字〔2017〕0114号","《规定》第四十八条第三项","承接业务未依法与委托人签订消防技术服务合同","2017.10.27",2000]
[5,null,null,"安阳市北关区宁辰快捷宾馆","安阳支队","北公(消)行罚决字〔2017〕0037号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.05.25",2000]
[6,null,null,"滑县清华园住宅小区二期","安阳支队","滑公(消)行罚决字〔2017〕0104号","《规定》第四十八条第三项","承接业务未依法与委托人签订消防技术服务合同","2017.09.20",1000]
[7,null,null,"鹤壁航盛汽车电子科技有限公司","鹤壁支队","开发公(消)行罚决字〔2017〕0105号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.09.29",2000]
[8,null,null,"辉县市亨泰建材城","新乡支队","辉公(消)行罚决字〔2017〕0081号","《规定》第四十八条第六项","未建立和保管消防技术服务档案","2017.09.15",2000]
[9,null,null,"台前县公安局","濮阳支队","台公(消)行罚决字〔2017〕0113号","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章","2017.12.22 ",500]
[10,null,null,"林溪公馆小区","许昌支队","许开公(消)行罚决字〔2017〕0062号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.12.31",500]
[11,null,null,"食品职业学院","漯河支队","漯公(消)行罚决字〔2017〕0005号","《消防法》第六十九条第一款","消防技术服务机构出具虚假文件","2017.01.13",50000]
[12,null,null,"三门峡市赛菲尔温泉酒店有限公司","三门峡支队","陕公(消)行罚决字〔2017〕0056号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.08.25",1000]
[13,null,null,"卢氏县银基百联购物大厦","三门峡支队","卢公(消)行罚决字〔2017〕0086号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.10.01",500]
[14,null,null,"虞城县农村信用合作联社","商丘支队","虞公(消)行罚决字〔2017〕0018号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.04.24",2000]
[15,null,null,"柘城县农村信用合作联社","商丘支队","柘公(消)行罚决字〔2017〕0025号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.07.27",2000]
[16,null,null,"商丘市华商酒店管理有限公司","商丘支队","商开公(消)行罚决字〔2017〕0050号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.08.25",1000]
[1,"河南省国泰建筑消防设施检测有限公司","临时二级","召陵区人民医院","漯河支队","召公(消)行罚决字〔2017〕0049号","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章","2017.08.09",3000]
[2,null,null,"金港大酒店","漯河支队","开公(消)行罚决字〔2017〕0092号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.10.22",1000]
[3,null,null,"对南阳市淅川县英泰时代花园住宅小区","南阳支队","宛公(消)行罚决字〔2017〕0069号","《规定》第四十八条第一项","未设立技术负责人、明确项目负责人","2017.08.01",6000]
[4,null,null,"南阳市王府红事会主题酒店有限公司","南阳支队","宛公(消)行罚决字〔2017〕0075号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.08.31",2000]
[5,null,null,"唐河泗州宾馆","南阳支队","唐公(消)行罚决字〔2017〕0098号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.09.29",2000]
[6,null,null,"御豪庭住宅小区","南阳支队","邓公(消)行罚决字〔2017〕0071号","《消防法》第六十九条第一款","消防技术服务机构出具虚假文件","2017.09.25",60000]
[7,null,null,"信阳华联超市有限公司光山县分公司","信阳支队","光公(消)行罚决字〔2017〕0033号","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章","2017.09.04",1500]
[8,null,null,"正阳县文化广场地下商场","驻马店支队","正公(消)行罚决字〔2017〕0045号","《规定》第四十八条第二款","出具的书面结论文件未签名、盖章","2017.07.04",2000]
[9,null,null,"汝南县山水文化娱乐有限公司","驻马店支队","汝公(消)行罚决字〔2017〕0117号","《规定》第四十七条第一款第五项","指派无相应资格从业人员从事社会消防技术服务活动","2017.10.26",13000]
[10,null,null,"汝南县汝河假日餐饮服务有限公司 ","驻马店支队","汝公(消)行罚决字〔2017〕0116号","《规定》第四十八条第一项","未设立技术负责人、明确项目负责人","2017.10.26",7000]
[11,null,null,"济源市总工会","济源支队","济水公(消)行罚决字〔2017〕0037号","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章","2017.05.04",1000]
[1,"河南省华鼎建设咨询有限公司","临时一级","金成时代广场","郑州支队","郑公(消)行罚决字〔2017〕0097号","《规定》第四十七条第一款第六项","转包、分包消防技术服务项目","2017.08.09",10000]
[2,null,null,"汝州蓝湾假日酒店有限公司","平顶山支队","汝公(消)行罚决字〔2017〕0112号","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章","2017.11.20",5000]
[3,null,null,"安阳市鹰网部落网吧","安阳支队","文公(消)行罚决字〔2017〕0132号","《消防法》第六十九条第一款","消防技术服务机构出具虚假文件","2017.10.12",60000]
[4,null,null,"馨源酒店","安阳支队","龙公(消)行罚决字〔2017〕0122号","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章","2017.11.24",500]
[5,null,null,"浚县农村信用合作联社","鹤壁支队","浚公(消)行罚决字〔2017〕0101号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.07.31",2000]
[6,null,null,"鹤壁市淇滨区情缘网吧","鹤壁支队","淇滨公(消)行罚决字〔2017〕0090号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.08.28",500]
[7,null,null,"贾湖酒业集团有限责任公司","漯河支队","舞公(消)行罚决字〔2017〕0093号","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章","2017.10.22",3000]
[8,null,null,"睢县嘉美超市中心大街店","商丘支队","睢公(消)行罚决字〔2017〕0017号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.04.26",1000]
[9,null,null,"信阳华生宾馆","信阳支队","浉公(消)行罚决字〔2017〕0044号","《规定》第五十条第一款第一项","未按照国家标准、行业标准检测、维修、保养建筑消防设施、灭火器","2017.09.05",7000]
[10,null,null,"驻马店市新百家福商贸有限公司","驻马店支队","新公(消)行罚决字〔2017〕0063号","《规定》第四十八条第二款","出具的书面结论文件未签名、盖章","2017.09.14",3000]
[11,null,null,"汝南县人民医院","驻马店支队","汝公(消)行罚决字〔2017〕0081号","《规定》第四十八条第二款","出具的书面结论文件未签名、盖章","2017.09.23",5000]
[1,"河南鸿安消防检测技术有限公司","临时二级","内黄县金水实业有限公司","安阳支队","内公(消)行罚决字〔2017〕0048号","《规定》第四十八条第三项","承接业务未依法与委托人签订消防技术服务合同","2017.05.04",1000]
[2,null,null,"安阳市七悦快捷酒店有限责任公司","安阳支队","文公(消)行罚决字〔2017〕0064号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.05.25",2000]
[3,null,null,"内黄县新润发商贸有限公司","安阳支队","内公(消)行罚决字〔2017〕0076号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.08.30",2000]
[4,null,null,"汤阴县世纪华联购物中心","安阳支队","汤公(消)行罚决字〔2017〕0107号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.09.28",2000]
[5,null,null,"鹤壁市幸运星商务快捷酒店","鹤壁支队","淇滨公(消)行罚决字〔2017〕0065号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.05.27",500]
[6,null,null,"淇县皇家娱乐会所","鹤壁支队","淇公(消)行罚决字〔2017〕0103号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.07.28",500]
[7,null,null,"清怡花城幼儿园","濮阳支队","濮公(消)行罚决字〔2017〕0016号","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章","2017.06.30",1500]
[8,null,null,"范县人民医院","濮阳支队","范公(消)行罚决字〔2017〕0072号","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章","2017.10.18",500]
[9,null,null,"中国电信集团公司河南省濮阳市电信分公司","濮阳支队","濮公(消)行罚决字〔2017〕0044号","《规定》第四十七条第一款第五项","指派无相应资格从业人员从事社会消防技术服务活动","2017.11.22",10000]
[10,null,null,"加兰网咖","濮阳支队","濮高公(消)行罚决字〔2017〕0075号","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章","2017.12.26",500]
[1,"河南保龙消防技术有限公司","临时一级","晖达新天地","郑州支队","郑公(消)行罚决字〔2017〕0118号","《规定》第四十七条第一款第六项","转包、分包消防技术服务项目","2017.10.11",10000]
[2,null,null,"杞国新城南苑建设工程","开封支队","杞公(消)行罚决字〔2017〕0095号","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章","2017.12.15",2000]
[3,null,null,"天乐园","安阳支队","滑公(消)行罚决字〔2017〕0044号","《规定》第四十八条第三款","承接业务未依法与委托人签订消防技术服务合同","2017.05.03",1000]
[4,null,null,"翰林世家住宅小区","濮阳支队","乐公(消)行罚决字〔2017〕0042号","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章","2017.08.31",1000]
[5,null,null,"新野县太阳城小区","南阳支队","新公(消)行罚决字〔2017〕0091号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.11.30",2000]
[6,null,null,"睢县人民医院","商丘支队","睢公(消)行罚决字〔2017〕0077号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.10.31",2000]
[7,null,null,"商城县红福家园家具城","信阳支队","商公(消)行罚决字〔2017〕0014号","《消防法》第六十九条第一款","消防技术服务机构出具虚假文件","2017.03.31",50000]
[8,null,null,"郑州航空港区锦荣悦汇商城7号楼D1028商铺","航空港支队","郑港公(消)行罚决字〔2017〕0053号","《规定》第五十条第一款第二项","经维修、保养的建筑消防设施、灭火器质量不符合国家标准、行业标准","2017.09.15",10000]
[1,"河南诺盾科技有限公司","临时二级","郑州凯润商务酒店有限公司","郑州支队","惠公(消)行罚决字〔2017〕0242号","《规定》第五十条第一款第二项","经维修、保养的建筑消防设施、灭火器质量不符合国家标准、行业标准","2017.12.01",10000]
[2,null,null,"光大银行郑州分行","郑州支队","郑公(消)行罚决字〔2017〕0166号","《规定》第四十八条第一项、第\n二项、第三项","承接业务未依法与委托人签订消防技术服务合同，未设立技术负责人、明确项目负责人，出具的书面结论文件未签名、盖章","2017.12.26",8000]
[3,null,null,"宝丰县新绿园宾馆有限公司","平顶山支队","宝公(消)行罚决字〔2017〕0093号 ","《规定》第四十八条第三项","承接业务未依法与委托人签订消防技术服务合同","2017.10.04",3000]
[4,null,null,"圣元国际小区（新建住宅楼）","濮阳支队","濮公(消)行罚决字〔2017〕0009号 ","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章","2017.05.31",2000]
[5,null,null,"濮阳市油田总医院康平小区","濮阳支队","濮公(消)行罚决字〔2017〕0020号","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章","2017.08.31",2000]
[6,null,null,"华都商厦","濮阳支队","濮华公(消)行罚决字〔2017〕0081号","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章","2017.10.10",1000]
[7,null,null,"濮阳县百货公司","濮阳支队","濮县公(消)行罚决字〔2017〕0133号","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章","2017.11.15",3000]
[8,null,null,"信阳市浉河区小皮孩洗浴会所","信阳支队","浉公(消)行罚决字〔2017〕0089号","《规定》第四十八条第一项","未设立技术负责人、明确项目负责人","2017.12.14",1500]
[1,"河南省豫新科技发展有限公司","临时二级","郑州交运中原大厦","郑州支队","郑车公(消)行罚决字〔2017〕0074号","《规定》第五十条第一款第一项","未按照国家标准、行业标准检测、维修、保养建筑消防设施、灭火器","2017.10.21",10000]
[2,null,null,"洛阳市佳祥物业管理有限公司（美伦凤凰城小区）","洛阳支队","涧公(消)行罚决字〔2017〕0046号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.06.30",2000]
[3,null,null,"南乐县仓颉宾馆","濮阳支队","乐公(消)行罚决字〔2017〕0036号","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章","2017.07.28",1000]
[4,null,null,"商丘市金环物业管理有限公司","商丘支队","梁公(消)行罚决字〔2017〕0026号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.07.03",2000]
[5,null,null,"虞城县麦莎时尚音乐会所","商丘支队","虞公(消)行罚决字〔2017〕0030号","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章","2017.07.20",2000]
[6,null,null,"柘城县人民医院病房楼","商丘支队","柘公(消)行罚决字〔2017〕0026号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.07.27",2000]
[7,null,null,"郑州航空港经济综合实验区国际贸易服务中心（北地块）","航空港支队","郑港公(消)行罚决字〔2017〕0075号","《规定》第五十条第一款第一项","未按照国家标准、行业标准检测、维修、保养建筑消防设施、灭火器","2017.10.13",10000]
[1,"河南省中原消防工程有限公司","临时一级","米尚酒店管理有限公司","开封支队","鼓公(消)行罚决字〔2017〕0046号","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章","2017.06.19",1000]
[2,null,null,"洛阳长兴酒店有限公司","洛阳支队","洛龙公(消)行罚决字〔2017〕0131号","《规定》第四十八条第七项","未公示资质证书、注册消防工程师资格证书等事项","2017.10.25",1000]
[3,null,null,"漯河市源汇区政府","漯河支队","源公(消)行罚决字〔2017〕0082号","《规定》第四十七条第一款第五项、第四十八条第二项、第五十条第二款","指派无相应资格从业人员从事社会消防技术服务活动；出具的书面结论文件未盖章；未公示消防技术服务信息","2017.07.24",15000]
[4,null,null,"南阳市世纪龙副食百货有限责任公司","南阳支队","卧公(消)行罚决字〔2017〕0144号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.09.30",2000]
[5,null,null,"南阳市王府红事会主题酒店有限公司","南阳支队","宛公(消)行罚决字〔2017〕0090号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.09.27",4000]
[6,null,null,"南阳市明思克家居商场","南阳支队","高公(消)行罚决字〔2017〕0120号","《规定》第五十条第一款第一项","未按照国家标准、行业标准检测、维修、保养建筑消防设施、灭火器","2017.10.23",10000]
[7,null,null,"新县鑫海湾国际大酒店","信阳支队","新公(消)行罚决字〔2017〕0028号","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章","2017.05.31",2000]
[1,"河南君兴消防技术服务有限公司","临时二级","中石化洛阳分公司办公大楼","洛阳支队","吉公(消)行罚决字〔2017〕0028号","《规定》第五十条二款、第四十八条第二项","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息；出具的书面结论文件未签名、盖章","2017.09.07",500]
[2,null,null,"嵩县鹏泰综合超市","洛阳支队","嵩公(消)行罚决字〔2017〕0068号","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章","2017.10.01",500]
[3,null,null,"栾川县国华大酒店服务有限公司","洛阳支队","栾公(消)行罚决字〔2017〕0132号","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章","2017.12.25",1000]
[4,null,null,"渑池县印象仰韶主题文化酒店有限公司","三门峡支队","渑公(消)行罚决字〔2017〕0049号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.07.15",2000]
[5,null,null,"南阳万德隆商贸有限公司服饰广场分公司","南阳支队","宛公(消)行罚决字〔2017〕0132号","《规定》第四十七条第一款第五项","指派无相应资格从业人员从事社会消防技术服务活动","2017.12.31",10000]
[6,null,null,"夏邑县义乌商贸城","商丘支队","夏公(消)行罚决字〔2017〕0103号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.12.31",1000]
[1,"河南华安消防技术有限公司","临时二级","总部企业基地","郑州支队","高开公(消)行罚决字〔2017〕0133号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.10.24",1000]
[2,null,null,"开封和源燃气有限公司曲兴加气站","开封支队","汴公(消)行罚决字〔2017〕0011号 ","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章 ","2017.05.31",1000]
[3,null,null,"开封和源燃气有限公司范村加气站","开封支队","汴公(消)行罚决字〔2017〕0010号 ","《规定》第四十八条第三项","承接业务未依法与委托人签订消防技术服务合同","2017.05.31",1000]
[4,null,null,"林州市梅平商贸有限公司","安阳支队","林公(消)行罚决字〔2017〕0036号","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章","2017.05.01",1000]
[5,null,null,"丹尼斯","漯河支队","源公(消)行罚决字〔2017〕0036号","《规定》第四十八条第七项","未公示资质证书、注册消防工程师资格证书等事项","2017.04.28",2000]
[1,"河南华豫达消防安全检测有限公司","临时一级","浚县瑞吉商务酒店有限公司","鹤壁支队","浚公(消)行罚决字〔2017〕0076号 ","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.06.16",2000]
[2,null,null,"鹤壁市金融大厦","鹤壁支队","鹤公(消)行罚决字〔2017〕0047号","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章","2017.11.06",3000]
[3,null,null,"桐柏县城关柏金时尚派对娱乐城","南阳支队","桐公(消)行罚决字〔2017〕0094号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.10.17",5000]
[4,null,null,"青松家具大世界","周口支队","项公(消)行罚决字〔2017〕0021号 ","《规定》五十二条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.04.28",1000]
[5,null,null,"万果园五一广场店","周口支队","周公(消)行罚决字〔2017〕0006号","《规定》五十二条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.06.30",500]
[1,"河南金安消防安检有限公司","临时二级","尉氏宏泰酒店","开封支队","尉公(消)行罚决字〔2017〕0058号","《规定》第四十八条第三项","承接业务未依法与委托人签订消防技术服务合同","2017.07.30",1000]
[2,null,null,"开封市江鑫温泉宾馆","开封支队","祥公(消)行罚决字〔2017〕0050号","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章","2017.09.07",1000]
[3,null,null,"通许县水榭花都小区","开封支队","通公(消)行罚决字〔2017〕0091号","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章","2017.11.27",1000]
[4,null,null,"碧水蓝城小区","开封支队","汴开公(消)行罚决字〔2017〕0135号","《规定》第四十七条第一款第五项","指派无相应资格从业人员从事社会消防技术服务活动","2017.12.12",10000]
[5,null,null,"银杏国际花园","三门峡支队","义公(消)行罚决字〔2017〕0091号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.10.27",500]
[1,"许昌恒宇科技有限公司","临时二级","禹州市中心医院","许昌支队","许禹公(消)行罚决字〔2017〕0163号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.11.24",2000]
[2,null,null,"漯河联通公司","漯河支队","漯公(消)行罚决字〔2017〕0023号","《规定》第四十八条第七项","未公示资质证书、注册消防工程师资格证书等事项 ","2017.05.24",5000]
[3,null,null,"昌建商务酒店","漯河支队","源公(消)行罚决字〔2017〕0096号","《规定》第四十八条第二项　","出具的书面结论文件未签名、盖章","2017.08.25",500]
[4,null,null,"漯河工商联大厦","漯河支队","郾公(消)行罚决字〔2017〕0133号","《规定》第四十九条第一款","消防技术服务机构出具虚假文件","2017.08.09",50000]
[5,null,null,"新兴家具城","漯河支队","召公(消)行罚决字〔2017〕0103号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.11.27",1000]
[1,"河南安尔信消防科技有限公司","临时二级","宝丰县亚坤弘基商住楼","平顶山支队","宝公(消)行罚决字〔2017〕0056号","《规定》第四十八条第三项","承接业务未依法与委托人签订消防技术服务合同","2017.07.31",10000]
[2,null,null,"汤阴县旭日商务酒店有限公司","安阳支队","汤公(消)行罚决字〔2017〕0051号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.04.30",2100]
[3,null,null,"三门峡大张百货有限公司","三门峡支队","三湖公(消)行罚决字〔2017〕0087号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.06.29",500]
[4,null,null,"海景温泉馆","周口支队","淮公(消)行罚决字〔2017〕0073号","《规定》五十二条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.10.12",500]
[1,"郑州万维电子科技有限公司","临时一级","郑东新区合村并城祭城南安置区","郑州支队","郑公(消)行罚决字〔2017〕0115号","《消防法》第六十九条第一款","消防技术服务机构出具虚假文件","2017.10.09",60000]
[2,null,null,"河南省洛阳正骨医院","洛阳支队","瀍公(消)行罚决字〔2017〕0035号 ","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.06.15",2000]
[3,null,null,"濮阳市爱的堡幼儿园","濮阳支队","濮公(消)行罚决字〔2017〕0015号","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章","2017.06.30",1500]
[4,null,null,"三门峡市万达商业管理有限公司","三门峡支队","三公(消)行罚决字〔2017〕0025号","《规定》第四十七条第五项","指派无相应资格从业人员从事社会消防技术服务活动","2017.10.01",10000]
[1,"智信安装集团有限公司","临时一级","灵宝市盛景年华二期工程","三门峡支队","灵公(消)行罚决字〔2017〕0193号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.12.20",200]
[2,null,null,"商丘莫泰酒店管理有限公司","商丘支队","商开公(消)行罚决字〔2017〕0024号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.04.29",2000]
[3,null,null,"信阳市迪欧咖啡新七大道店","信阳支队","羊公(消)行罚决字〔2017〕0057号","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章","2017.12.12",1000]
[4,null,null,"济源市泉水湾小区","济源支队","玉川公(消)行罚决字〔2017〕0132号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.12.19",1000]
[1,"河南省安达消防设施有限公司","临时二级","河南盛弘尚都百货有限公司","焦作支队","温公(消)行罚决字〔2017〕0061号 ","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章 ","2017.09.26",1000]
[2,null,null,"河南省国美电器有限公司驻马店分公司","驻马店支队","驿公(消)行罚决字〔2017〕0076号","《规定》第四十八条第二款","出具的书面结论文件未签名、盖章","2017.08.31",1000]
[3,null,null,"济源市玉泉街道中心幼儿园","济源支队","玉川公(消)行罚决字〔2017〕0024号 ","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.04.14",200]
[1,"河南省电安消防设施检测有限公司","临时一级","王府井百货","郑州支队","郑公(消)行罚决字〔2017〕0143号","《规定》第四十八条第二项、第三项","出具的书面结论文件未签名、盖章；承接业务未依法与委托人签订消防技术服务合同","2017.11.10",6000]
[2,null,null,"河南创悦美舍酒店有限公司","平顶山支队","高公(消)行罚决字〔2017〕0041号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.09.14",1000]
[3,null,null,"博爱县慧之城网咖","焦作支队","博公(消)行罚决字〔2017〕0014号","《规定》第四十八条第一项","未设立技术负责人、明确项目负责人","2017.03.24",300]
[1,"河南省鸿豫消防技术有限公司","临时一级","地一大道商城","郑州支队","郑车公(消)行罚决字〔2017〕0075号","《规定》第五十条第一款第一项","未按照国家标准、行业标准检测、维修、保养建筑消防设施、灭火器","2017.10.21",10000]
[2,null,null,"新乡职业技术学院","新乡支队","工公(消)行罚决字〔2017〕0078号","《规定》第四十八条第三项","承接业务未依法与委托人签订消防技术服务合同","2017.12.25",5000]
[3,null,null,"焦作金冠嘉华电力有限公司","焦作支队","马公(消)行罚决字〔2017〕0103号","《规定》第四十八条第一项","未设立技术负责人、明确项目负责人","2017.11.16",5000]
[1,"河南泰合消防工程有限公司","临时一级","吉利区馨福来商务酒店","洛阳支队","吉公(消)行罚决字〔2017〕0029号","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章","2017.09.07",3000]
[2,null,null,"孟津县君悦顺天商务宾馆","洛阳支队","孟公(消)行罚决字〔2017〕0057号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.09.08",4000]
[3,null,null,"华丰国际宾馆","周口支队","沈公(消)行罚决字〔2017〕0122号","《规定》五十二条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.11.21",500]
[1,"河南永安电气消防检测有限公司","临时一级","卫辉市领秀城小区","新乡支队","卫公(消)行罚决字〔2017〕0090号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.10.03",5000]
[2,null,null,"三门峡方圆实业股份有限公司","三门峡支队","渑公(消)行罚决字〔2017〕0026号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.04.30",200]
[3,null,null,"三门峡鹏飞电子有限公司","三门峡支队","三示公消(消)行罚决字〔2017〕0019号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.12.26",200]
[1,"河南诚信消防维保技术咨询有限公司","临时一级","濮阳正大金域湾小区","濮阳支队","濮公(消)行罚决字〔2017〕0032号","《规定》第四十八条第一项","未设立技术负责人、明确项目负责人","2017.09.30",2000]
[2,null,null,"今夜娱乐会所","周口支队","沈公(消)行罚决字〔2017〕0067号","《规定》五十二条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.09.29",1000]
[1,"河南宏展消防安全技术有限公司","临时二级","平顶山世纪丰田汽车销售服务","平顶山支队","高公(消)行罚决字〔2017〕0043号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.09.15",2000]
[2,null,null,"鲁山紫金城商务宾馆","平顶山支队","鲁公(消)行罚决字〔2017〕0119号 ","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.10.15",3000]
[1,"河南金龙安全技术有限公司","临时二级","漯河市卡特酒店管理服务有限公司","漯河支队","郾公(消)行罚决字〔2017〕0084号","《规定》第四十七条第一款第五项","指派无相应资格从业人员从事社会消防技术服务活动","2017.06.05",13000]
[2,null,null,"碧海蓝天商务酒店","漯河支队","源公(消)行罚决字〔2017〕0139号","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章","2017.10.26",1000]
[1,"河南蓝盾消防检测有限公司","临时二级","扶沟县西关液化气站","周口支队","扶公(消)行罚决字〔2017〕0027号","《规定》五十二条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.08.23",2000]
[2,null,null,"扶沟县联诚液化气站","周口支队","扶公(消)行罚决字〔2017〕0089号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.12.22",2000]
[1,"河南新广裕楼宇自控工程有限公司","临时一级","南乐县维拉尼卡酒店","濮阳支队","乐公(消)行罚决字〔2017〕0033号","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章","2017.07.11",1000]
[2,null,null,"郸城县郸杰易购商业有限公司","周口支队","郸公(消)行罚决字〔2017〕0037号","《规定》五十二条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.05.27",2000]
[1,"河南新天地电子工程有限公司","临时一级","中国移动河南有限公司平顶山市汝州分公司","平顶山支队","汝公(消)行罚决字〔2017〕0131号","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章","2017.12.25",3000]
[2,null,null,"对唐河县农村信用合作联社","南阳支队","唐公(消)行罚决字〔2017〕0061号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.07.20",2000]
[1,"河南银苑电子有限公司","临时一级","临颍县妇幼保健医院","漯河支队","临公(消)行罚决字〔2017〕0049号","《规定》第四十八条第二项　","出具的书面结论文件未签名、盖章","2017.07.21",9000]
[2,null,null,"三门峡中海家园物业服务有限公司","三门峡支队","三湖公(消)行罚决字〔2017〕0106号","《规定》第四十六条第一项","未取得资质，擅自从事社会消防技术服务活动","2017.08.31",20000]
[1,"河南建安科技发展有限公司","临时二级","安阳高新区华强水会","安阳支队","开公(消)行罚决字〔2017〕0034号","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章","2017.06.26",5000]
[1,"河南省公众消防科技有限公司","临时一级","南阳如家酒店有限公司","南阳支队","宛区公(消)行罚决字〔2017〕0144号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.10.26",5000]
[1,"河南盛鑫消防检测有限公司","临时二级","舞阳县人民医院","漯河支队","舞公(消)行罚决字〔2017〕0053号","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章","2017.08.30",2000]
[1,"河南宇海消防制冷工程有限公司","临时二级","洛阳市老城区来咔娱乐服务中心","洛阳支队","老公(消)行罚决字〔2017〕0024号 ","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章","2017.04.20",3000]
[1,"河南豫博消防科技有限公司","临时二级","卫辉市零点网吧","新乡支队","卫公(消)行罚决字〔2017〕0093号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.10.13",1000]
[1,"河南远大消防技术有限公司","临时二级","河南省鹏宇嘉禾大酒店有限公司","驻马店支队","上公(消)行罚决字〔2017〕0089号","《规定》第四十八条第二项","出具的书面结论文件未签名、盖章","2017.10.20",1000]
[1,"河南中诚消防制冷工程有限公司","临时一级","河南开祥精细化工有限公司","三门峡支队","义公(消)行罚决字〔2017〕0046号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.07.14",200]
[1,"许昌成瑞消防技术有限公司","临时二级","临颍县昆仑乐居商务酒店","漯河支队","临公(消)行罚决字〔2017〕0151号","《规定》第五十条第二款","未在经其维修、保养的消防设施所在建筑的醒目位置或者灭火器上公示消防技术服务信息","2017.11.01",5000]
["备注：处罚条款中“《规定》”指《社会消防技术服务管理规定》（公安部令129号，后经公安部令136号修订）；“《消防法》”指《中华人民共和国消防法》。"]